DAILY SANITARY AND SAFETY INSPECTION 
INDOOR - OUTDOOR SWIMMING POOL CHECKLIST

Name of premises: _____________	______ Date:	_____	_____

Address: ___________________	_______	Telephone: ____________________

Name of Supervisor: ______	______	_____

|  | CONDITIONS | Specify if OK? |
| --- | --- | --- |
|  |  | YES | NO | N/A |
|  | Access: ~ fences & lockable gates in good repair |  |  |  |
|  | ~ | walkways – accessibility and safe |  |  |  |
|  | ~ | exit doors clear, unobstructed |  |  |  |
|  | ~ | hours of operation posted |  |  |  |
|  | Deck: ~ | surface disinfected daily, using commercial sanitizer |  |  |  |
|  | ~ | free from pounding water |  |  |  |
|  | ~ | clear & unobstructed |  |  |  |
|  | ~ | garbage receptacles clean, with lids |  |  |  |
|  | ~ | outdoor footwear restricted |  |  |  |
|  | ~ | diving boards & ladders securely fastened |  |  |  |
|  | Life-saving Equipment: ~ first-aid kit available & fully stocked |  |  |  |
|  | ~ | telephone & emergency numbers accessible |  |  |  |
|  | ~ | reaching pole & throw-ring in place on deck |  |  |  |
|  | Pool Basin: ~ main drain clearly visible |  |  |  |
|  | ~ | skimmer baskets cleaned daily |  |  |  |
|  | ~ | skimmer weir operational with water level at midline of weir |  |  |  |
|  | ~ | depth markers clearly visible |  |  |  |
|  | ~ | suction-proof grates on main drains |  |  |  |
|  | ~ | suction-proof fittings on equalizer lines |  |  |  |

|  | Pool Records: ~ chemical testing within safe operating ranges and recorded daily |  |  |  |
| --- | --- | --- | --- | --- |
|  | ~ | attendance, accidents, illnesses & complaints recorded |  |  |  |
|  | ~ | equipment servicing contacts & maintenance schedule on record |  |  |  |
|  | Equipment Room: ~ hair & lint strainer clean |  |  |  |
|  | ~ | water temperature readings as recommended |  |  |  |
|  | ~ | flow meter readings as recommended flow rate |  |  |  |
|  | ~ | pressure gauges before & after filter checked |  |  |  |
|  | ~ | chemicals stored off the floor & away from combustibles |  |  |  |
|  | ~ | personal protective equipment available |  |  |  |
|  | Washrooms, Change Rooms, Showers: ~ hand soap, hand towels, toilet paper provided |  |  |  |
|  | ~ | floor surfaces & fixtures disinfected daily, using a commercial sanitizer |  |  |  |
|  | ~ | areas clear of litter & debris |  |  |  |
|  | ~ | garbage receptacles clean, with lids |  |  |  |
|  | Lighting: ~ ground-fault circuit interrupter (GFI) for underwater lighting operational |  |  |  |
|  | ~ | all lighting operational |  |  |  |
|  | ~ | exit lights |  |  |  |
|  | ~ | emergency lights |  |  |  |
|  | Comments / Actions taken Date: |

`

Signature of inspector: ______________	_____________	Date:

# Text boxes

### 13-K-7-2/2	August 2006