FIRE PREVENTION AND CONTROL MEASURES CHECKLIST

Name of premises: _____________	______ Date:	_____	_____

Address: ___________________	_______	Telephone: ____________________

Name of Supervisor: ______	______	_____

| FIRE PREVENTION AND CONTROL | Specify if OK? |
| --- | --- |
|  | YES | NO | N/A |
|  | Fire detection and alarm systems: installation, adequacy of coverage and service testing. |  |  |  |
|  | Sprinkler systems: clearance for storage type, proper pressure and flow volume of water or chemical supply and maintenance. |  |  |  |
|  | Fire evacuation: exit route maps, personnel training and emergency drills, fire exits unlocked. |  |  |  |
|  | Portable extinguishers: correct type and mounting, locating signs and guides, unrestricted accessibility, fully charged and regular maintenance and inspection. |  |  |  |
|  | Fire prevention: adequacy of housekeeping, waste disposal and flammable material controls. |  |  |  |
|  | Fire containment: fire control doors and seals, ventilation controls. |  |  |  |
|  | Fire notification: telephone and alternate systems for notification of fire team and outside services. |  |  |  |
|  | Fire services: hose outlets, valves and water supply adequate, compatible with local fire unit equipment and tested for serviceability. |  |  |  |
|  | Fire equipment: colour coding, signs and access, compliance with governmental standards. |  |  |  |
|  | Other (specify): |  |  |  |

Signature of Inspector: ________	Date:__________

# Text boxes

13-K-3-1/1	August 2006